
Laparoscopic Inguinal Hernia Repair - Elective

**Gloves:** 7 ½ Biogel

**Patient Positioning:**Both arms tucked

Chloraprep from nipples to pubis


Foot pedal opposite of hernia

Tower at the feet

**Local:**0.25% Marcaine w Epi

**Trocars:**

Veress needle in room unopened

5mm Covidien locking trocar x2

Auto Suture 10mm balloon trocar

**Instruments:**

Covidien Parietex preformed mesh – verify correct side

(TECT1510AL or TECT1510AR)

10mm 0 degree laparoscope, 30 degree in room

S Shape x2

Platypus or dolphin nose x2

Laparoscopic Metzenbaum in room

**Suture:**

4-0 Monocryl x1 PS-2

0 Vicryl UR6

**Dressing:**Dermabond or generic equivalent

Laparoscopic Cautery, no hand cautery

**Available, Not Opened:**

Suction/Irrigator in room unopened

Veress needle